# New Block – Discussion Points for Meeting

## Electrical & Wiring Planning

### 1. Floor-wise Electrical Control System

- Provision to be made for floor-wise ON/OFF control for:

  - Lights and fans separately

  - A/C separately

  - Staff rooms separately

### 2. Concealed Wiring Provision

- Dedicated concealed pipe/conduit provision to be provided for:

  - CCTV wiring

  - Smart Board wiring

  - Speaker/PA system wiring

  - Internet/LAN wiring

- Separate wiring provisions to be provided individually for each CCTV point and each Smart Board point.

- Sufficient space to be provided for future expansion and maintenance.

- CCTV lines should function independently and should not be affected by the general power OFF system.

### 3. Power Points

- Sufficient plug points to be provided in all rooms/classrooms.

- Additional power points and wiring provision to be planned for:

  - Computer systems

  - Library requirements

  - Future equipment requirements

### 4. Computer Lab Provision

- Adequate wiring and power provision to be made for computer systems.

- Proper main box/distribution arrangement to be included.

# Other Infrastructure Points Suggested

### 1. Library and Computer Lab Access

- Library and Computer Labs should have one large entry/ exit point.

### 2. Drinking Water Facility

- Drinking water facility to be provided near the waiting area, as it is not included in the present plan.

### 3. Language Room Provision

- One classroom near the lift to be partitioned into two separate rooms for Language Rooms.

- Two separate entrance doors to be provided.

- Necessary provision/opening to be made in the wall facing the lift.